## Feeder Data
ENDURANCE
Complete Solutions
Sr. | Feeder Description | Group | 15/11/26
1 | LT ROOM SHAFT EFD | EFD | 240802
2 | LT ROOM FLANGE EFD |  | 671139
3 | LT ROOM COOLING TOWER |  | 216676
4 | SHAFT UNO CNC 1 |  | 90245
5 | SHAFT UNO CNC 2
6 | SHAFT RACK ROLLING | Shaft Line | 34133
7 | SHAFT ROBO 892 |  | 11365
8 | SHAFT WASHING MACHINE |  | 17311
9 | SHAFT ROBO 891 |  | 7044
10 | SHAFT MPI |  | 8432
11 | ASSEMBLY LINE | Main Assembly line | 49562
12 | TATA ASSEMBLY LINE | TATA | 417479
13 | SPIDER GANTRY |  | 12727
14 | SPIDER TURNING TT |  | 783557
15 | SPIDER BROACHING | Spider Line | 35871
16 | SPIDER CENTERLESS GRINDING
17 | SPIDER TURNING SMARTER |  | 11142
18 | WHEEL FLANGE THREAD ROLLING |  | 46586
19 | WHEEL FLANGE ROBO 893 |  | 8867
20 | WHEEL FLANGE OD GRINDING |  | 33852
21 | WHEEL FLANGE GANTRY | Wheel Flange Line | 13903
22 | WHEEL FLANGE SPLINE ROLLING |  | 24200
23 | WHEEL FLANGE KEYWAY MACHINE |  | 7185
24 | WHEEL FLANGE ROBO 894 |  | 10138
25 | WHEEL FLANGE TURNING TT |  | 82600
26 | TF TURNING TT |  | 60704
27 | TF GANTRY |  | 13648
28 | TF TURNING SMARTER | Transmission Line
29 | TF MPI |  | 10292
30 | TF OD GRINDING |  | 15674
31 | TF BROACHING MACHINE |  | 14794
32 | TF WASHING MACHINE |  | 26541
33 | LT ROOM COMPRESSOR 75 KW |  | 2979482
34 | LT ROOM COMPRESSOR 55 KW |  | 426533
35 | LT ROOM APFC PANNEL | UTILITY | 28541
36 | LT ROOM FIRE HYDRANT |  | 9379
37 | LT ROOM LIGHTNING DB |  | 143768
38 | LT EOOM UTILITY INCOMER |  | 11477783
39 | LT ROOM SHOP FLOOR OFFICE LIGHTNING AC |  | 52516
40 | LT ROOM HTP |  | 10166
41 | LT ROOM ETP |  | 597
42 | POWER DB POWER DB INCOMER |  | 1006709
43 | POWER DB TOOLROOM STORE DB BOX |  | 31222
44 | POWER DB SECURITY GATE |  | 84832
45 | LT ROOM OFFICE BUILDING |  | 276599
46 | UPS AND R&D |  | 288661
47 | CENTRALISED COOLANT MACHINE |  | 51779